## Nd
Theory | [5 empty] | Experiment | [12 empty] | Misc.
[6 empty] | Fitted parameters | [9 empty] | Calibration
Element | Spectroscopic Charge | Lower level | Upper level | Energy [eV] | Relative Intensity | Energy | Energy uncertainty [eV] | Relative Intensity [arb] | Relative Intensity Uncertainty | FWHM | FWHM uncertainty | Sigma | Sigma uncertainty | Gamma | Gamma uncertainty | Statistical uncertainty [eV] | Calibration uncertainty [eV] | Systematic uncertainty [eV] | Beam energy [keV] | Beam current [mA] | TES State | Calibration State(s) | Date | Start Time | Stop Time | Function type | Number of functions | Notes | Instrument Res
[6 empty] | 1360.3971 | 0.021775 | 2903.2567 | 18.6415 | 4.9184 | 0.041285 | [7 empty] | 2.04 | 36.8 | T | A I O AH | 2023-12-21 |  |  | Voigt | 1 | Using this isolated line to determine instrumental resolution | 4.9475 | 5.4786 | 0.19555
[6 empty] | 1360.3346 | 0.0302 | 1671.4166 | 15.0188 | 4.902 | 0.058431 | 1.3612 | 0.026682 | 1.3612 | 0.026682 |  |  |  | 2.04 | 18.4 | V | A I O AH | 2023-12-21 |  |  | Voigt | 1 | Using this isolated line to determine instrumental resolution |  | 4.7151
[6 empty] | 1360.2204 | 0.040512 | 288.1034 | 3.4453 | 4.94 | 0.078435 | 1.3717 | 0.035817 | 1.3717 | 0.035817 |  |  |  | 2.04 | 9.2 | X | A I O AH | 2023-12-21 |  |  | Voigt | 1 | Using this isolated line to determine instrumental resolution
[6 empty] | 1360.1564 | 0.044536 | 406.5808 | 5.5962 | 4.7151 | 0.086069 | 1.3093 | 0.039302 | 1.3093 | 0.039302 |  |  |  | 2.04 | 13.8 | Z | A I O AH | 2023-12-21 |  |  | Voigt | 1 | Using this isolated line to determine instrumental resolution
[6 empty] | 1360.3053 | 0.013594 | 327.2661 | 1.3585 | 4.7474 | 0.025753 | 1.3182 | 0.01176 | 1.3182 | 0.01176 |  |  |  | 2.04 | 23 | AB | A I O AH | 2023-12-21 |  |  | Voigt | 1 | Using this isolated line to determine instrumental resolution
[6 empty] | 1360.1372 | 0.11649 | 124.5144 | 4.2435 | 4.9314 | 0.2213 | 1.3693 | 0.10105 | 1.3693 | 0.10105 |  |  |  | 2.04 | 27.6 | AD | A I O AH | 2023-12-21 |  |  | Voigt | 1 | Using this isolated line to determine instrumental resolution
[6 empty] | 1360.2881 | 0.1094 | 167.8823 | 4.8583 | 5.4786 | 0.20629 | 1.5213 | 0.0942 | 1.5213 | 0.0942 |  |  |  | 2.04 | 32.2 | AF | A I O AH | 2023-12-21 |  |  | Voigt | 1 | Using this isolated line to determine instrumental resolution
[6 empty] | 1204.0446 | 0.065573 | 21694.7705 | 326.9568 | 4.9475 | fixed | 1.7334 | 0.055198 | 1.7334 | 0.055198 |  |  |  | 2.04 | 36.8 | T | A I O AH | 2023-12-21 |  |  | Voigt | 1 | Ni-like Pr
[6 empty] | 1203.9034 | 0.050482 | 12177.2492 | 152.404 | 4.9475 | fixed | 1.6103 | 0.050482 | 1.6103 | 0.050482 |  |  |  | 2.04 | 18.4 | V | A I O AH | 2023-12-21 |  |  | Voigt | 2 | Ni-like Pr
[6 empty] | 1203.7705 | 0.04906 | 2084.4333 | 26.4176 | 4.9475 | fixed | 1.5455 | 0.04152 | 1.5455 | 0.04152 |  |  |  | 2.04 | 9.2 | X | A I O AH | 2023-12-21 |  |  | Voigt | 3 | Ni-like Pr
[6 empty] | 1203.7918 | 0.050185 | 2832.3456 | 35.625 | 4.9475 | fixed | 1.5916 | 0.042344 | 1.5916 | 0.042344 |  |  |  | 2.04 | 13.8 | Z | A I O AH | 2023-12-21 |  |  | Voigt | 4 | Ni-like Pr
[6 empty] | 1203.8754 | 0.070039 | 2233.5664 | 37.6698 | 4.9475 | fixed | 1.6505 | 0.05855 | 1.6505 | 0.05855 |  |  |  | 2.04 | 23 | AB | A I O AH | 2023-12-21 |  |  | Voigt | 5 | Ni-like Pr
[6 empty] | 1203.9572 | 0.0752 | 871.896 | 14.2167 | 4.9475 | fixed | 1.8313 | 0.062559 | 1.8313 | 0.062559 |  |  |  | 2.04 | 27.6 | AD | A I O AH | 2023-12-21 |  |  | Voigt | 6 | Ni-like Pr
[6 empty] | 1203.8407 | 0.069974 | 1378.4781 | 21.4849 | 4.9475 | fixed | 1.7867 | 0.058739 | 1.7867 | 0.058739 |  |  |  | 2.04 | 32.2 | AF | A I O AH | 2023-12-21 |  |  | Voigt | 7 | Ni-like Pr

## Date Beam energy keV Beam cur
Theory | [5 empty] | Experiment | [8 empty] | Misc.
[6 empty] | Fitted parameters | [5 empty] | Calibration
Element | Spectroscopic Charge | Lower level | Upper level | Energy [eV] | Relative Intensity | Energy | Energy uncertainty [eV] | Relative Intensity [arb] | Relative Intensity Uncertainty | FWHM | FWHM uncertainty | Statistical uncertainty [eV] | Calibration uncertainty [eV] | Systematic uncertainty [eV] | Beam energy [keV] | Beam current [mA] | TES State | Calibration State(s) | Date | Start Time | Stop Time